Multi-modal single-cell sequencing pipeline

Batch-day preparation & library protocol

Tsang Lab / CZ Biohub NY – Yale Annex   ·   Generated from the single-cell planner · adapted from the Tsang lab SOP (A. Ayers, 7/14/26)

This protocol covers the selected modalities: Unsort 5′ CITEseq, ASAP-seq, Sort 5′, and (optional) Bulk RNAseq and in vitro stim. Text in red is a placeholder to fill in / adjust for each new batch. Add or remove modalities in the planner and rebuild to update the day-by-day branches, library boxes, lane counts, tables, and personnel legend.

Contents

Experiment workflow	2

Experimental design	2

Timeline at a glance	3

Batch-day plan & assignments	3

Supplies checklist	4

Preparation checklist — T−3 weeks → batch day	5

Buffer & media preparation	7

thaw — PBMC thaw, count & prep	9

pool & split — PBMC pooling and modality split	10

Unsort 5′ + ASAP staining	11

Sort staining — HSC, pDC, cDC, Treg	13

ASAP-seq — nuclei prep, tagmentation & tag libraries	15

Bulk RNAseq — Trizol isolation	18

In vitro stim → Flex/5′ (optional)	18

10x Chromium GEM chip loading	19

Sequencing submission (YCGA)	20

General techniques	21

Safety practices	22

Cleaning checklist — after batch day	23

OVERVIEW

# Experiment workflow

| Experiment ID | Batch Day Lead | Date |
| --- | --- | --- |
| BCP-Batch # | NAME | MM/DD/YYYY |

Protocol generated from the selected modalities. The pipeline splits pooled PBMCs three ways — unsort 5′ CITE-seq (GEX + VDJ-TCR/BCR + CSP), ASAP-seq (ATAC + CSP), and sorted rare-population 5′ scRNAseq — with optional bulk RNAseq and in vitro stim arms. Use it alongside the experiment planner supplies list, the filled-in cell-count / pooling worksheet, and the relevant 10x user guides.

SUMMARY

# Experimental design

Fill this table in from the planner output before batch day. It is the at-a-glance record of what is being run, which kits/indexes are used, and how libraries map to sequencing.

| Field | Value |
| --- | --- |
| Date | BATCH DAY: MM/DD/YYYY LIBRARY PREP — cDNA amp/cleanup: Unsort 5′ MM/DD · Sort 5′ MM/DD · ASAP MM/DD · post-cDNA QC MM/DD ASAP libraries (ATAC, ADT-CSP, ADT-HTO): MM/DD CSP libraries (unsort 5′, sort 5′): MM/DD GEX libraries (unsort 5′, sort 5′): MM/DD VDJ amp 1&2 – TCR, BCR (unsort 5′, sort 5′): MM/DD VDJ libraries – TCR, BCR (unsort 5′, sort 5′): MM/DD POST-LIBRARY QC: MM/DD · SENT FOR SEQUENCING: MM/DD |
| Project | project name |
| Batch | # of # batches |
| Samples & pools | # samples, # pools |
| Aim | aim |
| Modalities included | • Single-cell unsort 5′ CITEseq – GEX, VDJ-TCR/BCR, CSP (ADT) • Single-cell sorted rare population [HSC, pDC, cDC, Treg] 5′ RNAseq w/ HTO – GEX, ADT (for HTOs), VDJ (if relevant) • Single-cell ASAPseq – ATAC, CSP (ADT) • Bulk RNAseq (optional: + bulk TCR/BCRseq) • In vitro stim → single-cell unsort 5′ RNAseq w/ HTO – GEX, ADT (for HTO) |
| Kits | 10x 5′ v3 with feature barcode 10x ATAC v2 |
| HTOs | 5′ (unsort and sort): TotalSeq-C HTO #-# ASAP: TotalSeq-A HTO #-# (should coincide with pool #s — note if naming convention differs) |
| Control cells sample | Sample ID / source |
| CSP staining Abs | TotalSeq-C 137-marker panel — 399905, Lot #### – for unsort 5′ CITEseq arm TotalSeq-A 154+9-iso-marker panel — 399907, Lot #### – for ASAPseq arm |
| Sequencing plan | 5′ cDNA : CSP : TCR : BCR = 65 : 33 : 1 : 1 GEX – Dual Index plate TT, Set A: Lot # (Part #, DI-TNA #), barcode # → Lane-ID = well X# CSP – Dual Index plate TN, Set A: Lot # (Part #, DI-TNA #), barcode # → Lane-ID = well X# TCR – Dual Index plate TT: Lot # → Lane-ID = well X# BCR – Dual Index plate TT: Lot # → Lane-ID = well X# ATAC : ADT : HTO — ASAP (ATAC): Single Index plate N, Set A: Lot # → Lane-ID = well X# |
| Naming convention | Individual samples: project_batch#_sampleID_pool# (Sample ID = subjID-timepoint/condition-aliquot, e.g. 1234-d1-001) Sample pools: project_batch#_pool# (e.g. MADI02_b4_p1) Modality sample pools: modality# (e.g. unsort1) |

SUMMARY

# Timeline at a glance

| Timing | Focus |
| --- | --- |
| T−3 weeks | Reagent/supply inventory & ordering; equipment booking (BSC hoods, flow sorter, cell counter, centrifuges); sample logistics (plan blood draw or cryovial retrieval). |
| T−1 week | Finalize pool/batch design; confirm barcode/index plate assignments; confirm donor/cryovial locations; place cooling blocks to chill. |
| Day −1 (day before) | Label printing; prepare buffers / pre-aliquot reagents; locate supplies and set up stations; double-check cooling blocks pre-chilled. |
| Day 0 (batch day) | Thaw → pool → stain → (sort) / (ASAP fix) → GEM load → GEM RT (+ bulk RNA Trizol isolation) (+ stim → fix for Flex). |
| Day 1 | Unsort: bead cleanup → cDNA amp/QC ASAP: bead cleanup Sort: bead cleanup → cDNA amp/QC Flex (stim): probe hybridization |
| Day 2 | ASAP: ATAC + CSP libraries Flex: barcoding/pooling → GEM load → bead cleanup |
| Day 3 | Unsort / Sort: GEX + VDJ-TCR + VDJ-BCR + CSP libraries. |
| Day 4 | Flex: Flex library. |

SUMMARY

# Batch-day plan & assignments

Batch day: sample preparation for unsort 5′ CITEseq, ASAPseq, sort 5′ scRNAseq, bulk RNAseq, and in vitro stim Flex scRNAseq. Assign a fixed station/role to each person and confirm timing the day before.

| Modality / protocol step | Timing | Assigned personnel |
| --- | --- | --- |
| PBMC thaw, count, split | 7am – 10am | All NAME, NAME, NAME |
| 5′ Unsort + ASAP stain | 10am – 2pm | NAME (Person 1) |
| 5′ Sort stain | 10am – 2pm | NAME (Person 2) |
| 5′ Sort flow panel | 2pm – 4pm | NAME (Person 3) |
| ASAP protocol | 2pm – 5pm | NAME (Person 2) |
| Bulk RNAseq Trizol isolation | 10am – 12pm | NAME (Person 4) |
| In vitro stim → fix for Flex | 12pm – 5pm | NAME (Person 4) |
| 10x Chromium chip loading | 5′ unsort ~2pm · ASAP ~4pm · 5′ sort ~5pm · Flex stim: different day |  |

Suggested flow for batch day

Batch-day flow with parallelized arms. Box color = experiment part (green = unsort 5′ CITEseq, orange = ASAP-seq, purple = sort 5′, gold = bulk RNAseq, pink = in vitro stim); outline color = assigned person.

Accompanying documents

- Supplies list from experiment planner tool

- Experiment spreadsheet: sample sourcing, cell counts, sort panel, stim plate plan

- 10x user guides: 5′ v3 with feature barcode; ATAC v2 with ASAP modification

- Worksheets for 10x protocols (chip layout, library worksheets)

PREP

# Supplies checklist

10x reagents — set aside enough for use (Unsort 5′+CSP+VDJ ~«LANE_UNSORT» lanes, ASAP ~«LANE_ASAP» lanes, Sort 5′ ~«LANE_SORT» lanes)

☐ 5′ v3 («RXN_UNSORT» reactions/lanes)

☐ Single Cell 5′ GEM Kit v3, 16 rxns: PN-1000701

☐ Library Construction Kit C, 16 rxns: PN-1000694

☐ Single Cell 5′ Gel Bead Kit v3, 16 rxns: PN-1000700

☐ Chromium GEM-X Single Cell 5′ Chip Kit v3, 4 chips: PN-1000698

☐ Dual Index Kit TT Set A, 96 rxns: PN-1000215

☐ 5′ v3 CSP («RXN_CSP» reactions)

☐ Chromium GEM-X Single Cell 5′ Feature Barcode Kit v3, 16 rxns: PN-1000703

☐ Dual Index Kit TN Set A, 96 rxns: PN-1000250

☐ 5′ v3 VDJ («RXN_VDJ» reactions)

☐ Single Cell Human TCR Amplification, 16 rxns: PN-1000252

☐ Single Cell Human BCR Amplification, 16 rxns: PN-1000253

☐ ATAC v2 («RXN_ASAP» reactions/lanes)

☐ Chromium Next GEM Single Cell ATAC Library Kit v2, 16 rxns: PN-1000391

☐ Chromium Next GEM Single Cell ATAC Gel Bead Kit v2, 16 rxns: PN-1000392

☐ Chromium Next GEM Chip H Single Cell Kit, 16 rxns: PN-1000162

☐ Single Index Kit N Set A, 96 rxns: PN-1000212

TotalSeq antibodies & blocking

☐ __ TotalSeq-C Universal v2 lyovial

☐ __ TotalSeq-A Universal v2 lyovial

☐ «HTO_UL» µL each TotalSeq-A HTO «HTO_RANGE»

☐ «HTO_UL» µL each TotalSeq-C HTO «HTO_RANGE»

☐ 80 + 80 + 160 µL Fc Block

ASAP reagents

☐ Tris-HCl · 10% Tween-20 · 10% NP-40 · 2M Glycine · 10% BSA

☐ Reconstituted oligos (BOA, p5, RPxx, D7xx)

☐ 16% Formaldehyde (methanol-free) — 30 µL/rxn (~30 µL, 1 super-pool); 1 ampoule

☐ 5% Digitonin — ~4 µL (OMNI lysis, 1 batch)

☐ 5 M NaCl — ~10 µL (lysis + wash) · 1 M MgCl₂ — ~25 µL (lysis, wash, DNase stock)

☐ Nuclease-free water — ~15 mL (ASAP buffers + nuclei buffer + DNase stock)

☐ 20× Nuclei Buffer (10x Genomics, PN-2000207) — 50 µL (from ATAC kit)

Media & buffer reagents

☐ RPMI-1640 [+ L-Glutamine] — ~660 mL (for 750 mL R10)

☐ FBS, heat-inactivated (thaw at 4 °C the night before) — ~135 mL (R10 ~75 + FACS ~56) + collection buffer

☐ HEPES 1 M stock — ~7.5 mL · 100× Pen-Strep — ~7.5 mL

☐ 1× PBS, sterile — ≥1.5 L · BSA powder — ~9 g

☐ DNase I, 100 mg vial — 1 vial (makes 10 mL stock; ~5.4 mL used)

☐ 1 M Tris-HCl pH 7.5 — ~1 mL · Glycine powder (MW 75) — ~0.15 g

☐ 0.22 µm syringe / bottle-top filters — ~5 (one per buffer) · 50% glycerol (for unused lanes)

Counting · flow sort · controls

☐ Nexcelom Cellaca MX counting plates (~2) · AOPI viability dye (~1.5 mL, 20 µL/count)

☐ 5′ sort antibody panel (see sort-panel table) — ~563 µL total across pools

☐ Live/Dead stain (Zombie NIR or Zombie Red) — ~3 µL stock (1:1000)

☐ Single-color compensation control beads (1 set) · Live/Dead control beads (1 vial)

☐ CSEI leukopak (unstained control) — 1 aliquot · FACS tube filter caps (35 µm) — ~6

☐ ALLCELLS control PBMCs (spike-in, 1/8 per pool) — 1 vial (~1–2M cells total)

Library construction & cleanup · labware

☐ SPRIselect reagent — ≥1×60 mL · 80% ethanol (mol-bio grade, fresh) — ~50–100 mL · Buffer EB / NF-water — ~5–10 mL

☐ 15 mL conicals ≥ 48 · 50 mL conicals ≥ 12 · FACS round-bottom (polystyrene) ~35 · 40 µm Flowmi strainers ~2

☐ 1.5 mL low-bind tubes ~15 · filtered tips (200 µL ~23 racks; 20 µL ~6 racks; 1000 µL ~2 racks)

☐ Serological pipettes (2/5/10/25 mL) — 3 sets · 200 µL multichannel + basins

☐ Thawsomes (1 per sample + control; clean) · PCR 8-strip tubes + storage boxes (GEM-RT 4 °C, library −20 °C ×2)

PREP

# Preparation checklist — T−3 weeks → batch day

3 weeks before

☐ Finalize the sample → pool assignment table (do not pool genetically related samples; spread one subject’s timepoints across pools).

☐ Run the pipeline calculator with this batch’s sample list to confirm pool sizes, lane/chip counts, and lyo-panel needs.

☐ Book equipment on the shared lab calendar using the single-cell planning tool:

☐ BSC hoods (first half of day = spots for 3 people or however many thaw; second half = 2 people: unsort/ASAP staining + stim).

☐ Centrifuges (≥1 large — nice to have one at 25 °C and one at 4 °C; 1 benchtop). Chromium X/Xi. Cell counter (Cellaca MX). PCR thermocycler (≥1, ideally 2).

☐ Reserve time with flow sorter (Flow core, or arrange with Rory in Annex for Sony MA900).

☐ Send batch-day notification email to all involved parties.

☐ Check ALL reagents/consumables and order anything running low.

☐ Confirm 10x kit lot #s and expiration dates are sufficient.

☐ If new HTO lots are used, confirm no re-titration needed.

☐ Double-check labeled cryovials fit securely into Thawsomes.

☐ Send lab coats for cleaning if needed.

1 week before

☐ Confirm barcode / dual-index plate assignments do not collide with any other run sequenced together.

☐ Generate the label manifest for this batch (sample ID, pool #, modality arm, date).

☐ Assign each person a role / fixed station for batch day.

2 days before

☐ Take out «FBS_ML» mL FBS (heat-inactivated) to thaw at 4 °C overnight for buffer prep next day.

☐ Confirm cooling blocks are pre-chilled and ready; make plenty of ice.

1 day before  (start in the morning in case an emergency stockroom visit is needed)

☐ Prep single-color control beads and run controls on the flow sorter: vortex beads, add ~15 µL into 50 µL FACS buffer, add Abs at ~½ panel conc (see 5′ Sort panel). L/D: use cells or L/D beads.

☐ Locate reagents & supplies (see supplies checklist)

☐ Prep fresh buffers (see Buffer & media preparation): NF-water (4 °C), 1× PBS (4 °C), DNase I stock (10 mg/mL), FACS stain/sort buffer, FACS collection buffer, staining/wash buffer, 10% BSA, 2M glycine.

☐ Confirm Fc Block, HTOs, TotalSeq lyo panels prepped and located; set aside the HTOs to use + HashMax Combi kit for stim.

☐ Print labels + label in BSC (caps + tube sides) and set out all tubes (optionally color-code/flag by pool # and modality arm):

☐ [1 per sample+ALLCELLS] 15 mL conicals for thawing · [1 per pool] 50 mL pool tubes.

☐ 8 FACS round-bottom + filter caps [3 modality-split superpools + 1 unstain sort control + 4 sort-output].

☐ [1 per sample+ALLCELLS] bulk RNAseq 1.5 mL LoBind tubes (RNase-away gloves/rack first).

☐ [1 per lane] unsort 5′ / sort 5′ / ASAP PCR strips for GEM-RT.

☐ Transfer batch cryovials into 1 LN box, group by thawing personnel (keep in LN), and record removed samples in FreezerPro.

☐ Check centrifuge accessories (15/50 mL + FACS + plate holders + balances).

☐ Check cleaning supplies/waste (Trizol hazardous-waste container in fume hood, empty tip/liquid waste, biohazard boxes, fresh 10% bleach, 70% EtOH, DNA-off, RNase Away, KimWipes, gloves, clean lab coats).

☐ Print pooling and counting worksheets for all personnel.

☐ Review the batch-day plan; note what comes out of −80/−20 °C and when.

☐ Prep storage boxes for outputs: 4 °C PCR box (GEM-RT tubes), −20 °C box (cDNA/library products), −20 °C box (intermediate side products / discarded supernatants — keep until QC).

☐ Clean BSC surfaces with 70% EtOH; UV 15 min.

☐  Set up each hood: tube rack per thawing batch, waste containers, pipette tips (20/200/1000 µL), serological pipettes (2/5/10/25 mL) + pipettor — one set per thawer.

Morning setup (batch day)

☐ BSC: clean surface with 70% EtOH, confirm clear, UV 15 min. Water bath 37 °C; centrifuges start at 25 °C (one to 4 °C for later). Clean pre-PCR stations: DNA-off → RNase Away → 70% EtOH.

☐ Pre-warm media ingredients at 37 °C: RPMI-1640, FBS, DNase I (must warm to activate).

☐ Verify label manifest matches physical cryovials (scan / check sample #s).

☐ Set up each hood/station: tube rack per thawing batch; waste containers; tips (20/200/1000 µL) + serological pipettes (2/5/10/25 mL) + pipettor — one set per thawer.

☐ Make fresh R10 media + thawing media (R10 + DNase I 0.1 mg/mL); aliquot 10 mL/tube into 15 mL tubes; pre-warm 37 °C. Keep remaining R10 at 37 °C.

PREP

# Buffer & media preparation

❗ General buffer prep conditions - Sterile prep: keep all components sterile (label as such); open only in the BSC. - Non-sterile prep: use non-sterile components outside the BSC, then sterile-filter in the BSC (0.22 µm syringe or vacuum filter depending on volume).

### Media

R10 media (thaw + wash) — make ~750 mL (660 mL for 44 samples incl. ALLCELLS @ 15 mL each)

| Component | 1× (1 sample) | Per 500 mL bottle | __× (# samples+ALLCELLS) |
| --- | --- | --- | --- |
| RPMI-1640 [+ L-Glut] | 13.2 mL | 440 mL |  |
| FBS, heat-inactivated | 1.5 mL | 50 mL |  |
| HEPES, 1 M stock | 150 µL | 5 mL |  |
| Pen-Strep, 100× stock | 150 µL | 5 mL |  |
| Total | 15 mL | 500 mL |  |

Need 10 mL thawing media + 2 mL incubation media per sample, rounded to 15 mL. If samples are from pregnant subjects, use phenol-free RPMI (estrogen in standard media can affect stimulation).

Thawing media — R10 + DNase I (0.1 mg/mL)

| Component | 1× (1 sample) | __× (# samples+ALLCELLS) |
| --- | --- | --- |
| R10 media | 10 mL |  |
| Pre-warmed DNase I (10 mg/mL stock) | 100 µL (1:100) |  |
| Total | 10 mL |  |
| Aliquot 10 mL/tube into prelabeled 15 mL tubes; pre-warm at 37 °C. Note: remove the DNase I volume from the R10 before adding DNase I for accuracy. |  |  |

Incubation media — R10 + DNase I (50 U/mL ≈ 0.025 mg/mL), per worker

| Component | 1× (1 sample) | Per worker (50 mL) |
| --- | --- | --- |
| R10 media | 2 mL | 50 mL |
| DNase I (10 mg/mL stock) | 5 µL | 125 µL |
| Total | 2 mL | 50 mL |
| One aliquot per thawer (rule of thumb: 50 mL R10 + 125 µL DNase I × 3 tubes for 3 people thawing ~60 samples). Add 2 mL/sample after the thaw spin. |  |  |

### FACS & staining buffers

FACS sorting buffer — 1× PBS + 10% FBS  (use: sort staining & sorting; sterile in BSC; store 4 °C)

| Component | 1× (1 sort pool) | __× (# sort pools) |
| --- | --- | --- |
| 1× PBS | 135 mL |  |
| FBS | 15 mL |  |
| Total | 150 mL |  |
| Volume note: 20+20+50+20+20+2 = 132 mL wash per pool, + 37 mL (unstain control + sort-output tubes + single-color controls) → round to 150 mL/pool. |  |  |

FACS collection buffer — 1× PBS + 50% FBS  (use: collect sorted cells; sterile in BSC; store 4 °C)

| Component | 1× (1 tube) | __× (# sorted-cell tubes) |
| --- | --- | --- |
| 1× PBS | 125 µL |  |
| FBS | 125 µL |  |
| Total | 250 µL |  |
| Collect sorted cells into 250 µL collection buffer waiting in each tube. |  |  |

Staining / wash buffer — 1× PBS + 2% BSA  (use: CITE / 5′ staining & washes, stim washes; store 4 °C)

| Component | 1× (1 unsort pool) | __× (# pools) |
| --- | --- | --- |
| 1× PBS | 25 mL |  |
| BSA (powder) | 0.5 g |  |
| Total | 25 mL |  |
| Non-sterile to dissolve, then 0.22 µm sterile-filter in BSC. Add BSA at slightly higher conc (10–20% less PBS), top up after dissolved; invert gently every 5–10 min (~1 hr to dissolve). Avoid bubbles/foam (protein denaturing). Need ~19 mL per pool per modality → round to 25 mL. |  |  |

10% BSA stock (ASAP lysis buffer) — 1× PBS + 10% BSA  (store 4 °C; *check for existing aliquots)

| Component | 1× (1 ASAP superpool) | __× (# pools — usually 1) |
| --- | --- | --- |
| 1× PBS | 1 mL | 1 mL |
| BSA (powder) | 0.1 g | 0.1 g |
| Total | 1 mL | 1 mL |
| Same prep as above BSA solution; consider prepping multiple → split into 500 µL aliquots. Need 200 µL lysis + 200 µL wash → round to 500 µL. |  |  |

### DNase, glycerol & ASAP component stocks

DNase I stock (10 mg/mL) — from 100 mg vial, 10 mL stock  (sterile in BSC; store −80 °C)

| Component | 10 mL stock | 1× (1 sample) | __× (# samples+control) |
| --- | --- | --- | --- |
| Tris-HCl pH 7.5, 1 M stock | 800 µL (80 mM final) |  |  |
| MgCl₂, 1 M stock | 10 µL (1 mM final) |  |  |
| Nuclease-free water | 9.19 mL |  |  |
| DNase I (powder) | 100 mg |  |  |
| Total | 10 mL | 115 µL |  |
| Make the dissolving solution first, then add the full 100 mg aliquot (no weighing). Aliquot into 1.5 mL LoBind tubes, 1–2 mL. Need 100 µL + 5 µL per sample + 10% = 115 µL. |  |  |  |

50% glycerol  (*if not purchased as 50%; use: 10x chip loading in unused lanes; store 4 °C/RT)

| Component | 1× (1 unused lane, approx.) | __× (# unused lanes) |
| --- | --- | --- |
| 100% glycerol stock | 200 µL |  |
| Nuclease-free water | 200 µL |  |
| Total | 400 µL |  |
| Need 370 µL per unused lane for 5′ v3 chip; 160 µL for ATAC v2 chip. |  |  |

10% Tween-20  (ASAP lysis component; sterile in BSC; store RT)

| Component | 1× (1 ASAP superpool) | __× (# pools) |
| --- | --- | --- |
| Tween-20 stock | 100 µL |  |
| Nuclease-free water | 900 µL |  |
| Total | 1 mL |  |
| Need 20 µL for ASAP lysis buffer. |  |  |

2M glycine  (ASAP quench; non-sterile to dissolve then 0.22 µm filter; store −20 °C long / 4 °C short)

| Component | 1× (1 ASAP superpool) | __× (# pools) |
| --- | --- | --- |
| 1× PBS | 1 mL |  |
| Glycine (powder, MW 75) | 0.15 g |  |
| Total | 1 mL |  |
| Need ~32 µL per ASAP super-pool for the quench. |  |  |

10% NP40 (IGEPAL)  (ASAP lysis component; sterile in BSC; store 4 °C)

| Component | 1× (1 ASAP superpool) | __× (# pools) |
| --- | --- | --- |
| 100% NP40 | 100 µL |  |
| Nuclease-free water | 900 µL |  |
| Total | 1 mL |  |
| Need 20 µL for ASAP lysis buffer. Also pre-aliquot Tris-HCl (40 µL), NaCl (8 µL), MgCl₂ (12 µL) into small tubes; NF-water at 4 °C; SPRI reagent for library prep. |  |  |

The ASAP OMNI lysis, ASAP wash, and 1× nuclei buffer recipes are given in-line in Protocol 5 (ASAP-seq), where they are used.

Source: MADI02 batch1 protocol + CITE-seq batch2 protocol (buffer recipes, ASAP CHI protocol).

PROTOCOL 1

# thaw — PBMC thaw, count & prep

When: 7–10am  ·  Timing: 7am–9am (thaw/count)  ·  Staffing: 1 worker per ~18 samples; all personnel [[NAME, NAME, NAME]]

Materials: Warmed 15 mL tubes with thawing media, pre-warmed R10, warmed DNase I stock, Thawsome adaptors, counting plates + AOPI dye, ice bucket / cooling blocks, labelled 50 mL + FACS tubes, pipettes + tips, 200 µL multichannel + basin, Cellaca MX counter.

⚠️ Clean level: STERILE — CLASS II BIOSAFETY ❗ Important tips - Be gentle with cells — pipette/handle gently, get them into warm media as quickly as possible, keep on ice constantly after the initial post-thaw incubation. - Watch temperature — cells in warm media initially, then switch to ice for pooling and stay on ice (cool) for the rest. RT centrifuge in warm media; cooled centrifuge (4 °C) once on ice. - Note any irregularities (pressurized cryovials → poor viability; small pellet → fewer cells; pink pellet → RBC contamination). - Preserving cells and accurate counting matter throughout — use careful technique for supernatant removal at every wash/spin.

- Retrieve 15 mL tubes from the 37 °C water bath (filled with 10 mL pre-warmed R10 + DNase I 0.1 mg/mL thawing media) and divide up into thawing stations in the BSC.

TIPS / NOTES - Spray tube bottoms carefully; wipe tops with EtOH on a KimWipe (avoid wiping labels). - Remove all 15 mL lids and set aside face-up — tip: use a strip of lab tape sticky-side up to hold caps in order.

- Thaw PBMCs by placing each cryovial into a Thawsome attachment (CHECK LABELS) at the mouth of a 15 mL tube (cryovial opening facing into the tube). Double-check sample #s match the 15 mL tubes.

- Centrifuge PBMCs 10 min, 300g (330g ideal), RT.

TIPS / NOTES - Use tube covers and 12 mL balances for uneven distribution. Max 96 tubes (4 swinging-bucket rotors × 24 slots for 15 mL tubes).

- While spinning, prepare R10 (pre-warmed) + DNase I (50 U/mL) incubation media; split into one aliquot per thawer (see Buffer & media preparation).

- After centrifugation, discard empty cryovials and remove Thawsomes.

TIPS / NOTES - Put Thawsomes in a separate waste bucket to potentially clean/re-use later.

- Pour off supernatant from each 15 mL tube into waste (leaves a small volume to aid resuspension). Gently tap/rack the tube to loosen the pellet.

- Add 2 mL pre-warmed incubation media (R10 + DNase I 50 U/mL). Mix gently (flick/rack, or reverse-pipette 1 mL + 1 mL with the same tip).

TIPS / NOTES - Mix each tube with a separate micropipette (gently) to resuspend. - Record exact volumes (needed for counting) — should be 2–2.2 mL.

- Take cells for counting before putting tubes away, then incubate PBMCs 10 min at 37 °C (water bath or incubator). Count while incubating.

- Count with the Nexcelom Cellaca MX: 20 µL cells + 20 µL AOPI dye (1:1, DF 2) → load 20 µL mix.

TIPS / NOTES - Resuspend fully immediately before taking the 20 µL. Record counts in the external cell-count spreadsheet. - ❗ QC — viability: samples should ideally be >90% after thaw.

- After incubation, put tubes on ice (or DryChill blocks). Separate into groups per the pooling plan: __ pools across __ people = __ pools/person.

⚠️ Clean level: ❗ Cool the centrifuge to 4 °C for the next steps (set to 4 °C and/or spin empty to cool quickly).

PROTOCOL 2

# pool & split — PBMC pooling and modality split

When: Immediately after thaw  ·  Timing: 9–10am  ·  Personnel: all thawers

Materials: 1× PBS (chilled, on ice), cooling block / ice bucket, FACS round-bottom tubes (polystyrene), filled-in cell-count sheet.

⚠️ Clean level: STERILE — CLASS II BIOSAFETY ❗ Important tips - Reference the filled-in cell-count sheet for exact pooling volumes.

- On ice, pool samples into 50 mL conicals (pool#-#) per the pooling spreadsheet, 1–2M cells per sample: __ samples into __ pools = __ samples/pool = ~30–32M cells per pool.

  - Add 1/«ALLCELLS_FRAC»th ALLCELLS control to each pool — same total as one individual sample split across pools: 1–2M cells across __ pools = __ into each pool.

- Split each sample pool by modality arm, keeping on ice / cooling block:

  - 5′ unsort pools: take «CELLS_PER_SAMPLE» cells from each sample pool into FACS round-bottom tubes labeled unsort#-#. Mix gently (swirl / invert / pipette).

  - ASAP pools: take «CELLS_PER_SAMPLE» cells from each sample pool into FACS round-bottom tubes labeled asap#-#.

  - 5′ sort pools: transfer all remaining cells (in 50 mL conicals) into FACS tubes labeled sort#-#. Use 1× PBS (do not exceed 3 mL PBS + cells in the FACS tube) to wash out each 50 mL conical and capture leftover cells — use this as the first wash in sort staining.

«SEC_BULKSTIM_START»

- Set aside remaining unpooled cells in 15 mL tubes for bulk RNAseq (~500k/sample) and in vitro stim (200k/sample × 4 conditions = 800k/sample). If cells remain, consider a spectral-flow panel (needs ~1–2M/sample).

«SEC_BULKSTIM_END»

Pooling assignment (adjust to this batch’s planner output):

| Pool | Hashtag | Samples | Members |
| --- | --- | --- | --- |
| Pool 1 | HTO-1 | 6 | IDvax_027_BL, IDvax_039_D0, IDvax_044_6H, IDvax_058_D1, IDvax_007_D3, IDvax_013_D7 |
| Pool 2 | HTO-2 | 6 | … |
| Pool 3 | HTO-3 | 6 | … |
| Pool 4 | HTO-4 | 5 | … |
| Pool 5 | HTO-5 | 5 | … |
| Pool 6 | HTO-6 | 5 | … |
| Pool 7 | HTO-7 | 5 | … |
| Pool 8 | HTO-8 | 5 | … |

At this point jobs split across personnel for parallelization — proceed to the appropriate section (Unsort + ASAP staining, Sort staining, Bulk RNAseq, Stim).

PROTOCOL 3

# Unsort 5′ + ASAP staining

When: After pooling  ·  Timing: 10am–2pm  ·  Personnel: 1 dedicated worker

Materials: Staining buffer (PBS + 2% BSA), Fc block, TotalSeq-C / -A HTOs, TotalSeq-C / -A Universal Cocktail v2 lyo panels, 1× PBS, DryChill / ice bucket + covers, large centrifuge @ 4 °C, benchtop microcentrifuge @ RT (then 4 °C), Cellaca plates + dye.

⚠️ Clean level: STERILE — CLASS II BIOSAFETY ❗ Important tips - Completely remove DNase-containing media (it degrades DNA-conjugated antibodies) — but avoid excessive washes (viability loss + cell loss). - Stain at 4 °C on ice; keep cells and reagents cool unless noted. Perform ASAP and HTO staining at the same time.

Wash & HTO stain

- Add 1 mL staining buffer (PBS + 2% BSA) to each unsort and asap pool to dilute, then centrifuge 400g, 5 min, 4 °C. Remove supernatant leaving ~40 µL. Wash again (resuspend 1 mL, spin, remove).

- Unsort HTO stain: to each unsort tube add 10 µL Fc block + 2 µL unique TotalSeq-C HTO. Mix; no bubbles/drops on the tube edge before incubation.

TIPS / NOTES - Spin HTOs briefly before use. Staining volume (cells + Fc + HTO) should be <100 µL; exact volume matters less here (HTOs are for calling). Each pool gets a unique HTO.

  - ASAP HTO stain: at the same time add 10 µL Fc block + 2 µL unique TotalSeq-A HTO to each asap tube. Mix as above.

Adjust HTO#/tube-ID pairings to this batch:

| Unsort pool | Unsort1 | Unsort2 | Unsort3 | Unsort4 | Unsort5 | Unsort6 | Unsort7 | Unsort8 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TotalSeq-C HTO# | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 |
| Tube ID |  |  |  |  |  |  |  |  |

| ASAP pool | ASAP1 | ASAP2 | ASAP3 | ASAP4 | ASAP5 | ASAP6 | ASAP7 | ASAP8 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TotalSeq-A HTO# | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 |
| Tube ID |  |  |  |  |  |  |  |  |

- Stain 30 min on ice (covered) for all tubes. Meanwhile reconstitute the lyo panels (see Surface-protein lyo panel reconstitution).

- Wash each pool 3× (2 spin-downs): resuspend in 1 mL (SOP) – 3 mL (batch practice) staining buffer, centrifuge 400g, 5 min, 4 °C.

Superpooling

- Count all tubes; calculate the exact volume from each pool for an even share of the super-pool. Record cell counts below.

TIPS / NOTES - Resuspend fully immediately before taking 20 µL to count. - Save remaining individual pools on ice / 4 °C as backup. - Alternative: pool all individual pools (max volume based on lowest count), then take the volume needed into a new tube for staining.

Record: unsort concentrations

| Unsort pool | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | Superpool |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cell conc (cells/mL) |  |  |  |  |  |  |  |  |  |
| Live % |  |  |  |  |  |  |  |  |  |
| Vol (mL) |  |  |  |  |  |  |  |  |  |
| Total cells |  |  |  |  |  |  |  |  |  |
| Vol pooled (250k/pool → 1.5M) |  |  |  |  |  |  |  |  | Vol for 1.5M |

Record: ASAP concentrations

| ASAP pool | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | Superpool |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cell conc (cells/mL) |  |  |  |  |  |  |  |  |  |
| Live % |  |  |  |  |  |  |  |  |  |
| Vol (mL) |  |  |  |  |  |  |  |  |  |
| Total cells |  |  |  |  |  |  |  |  |  |
| Vol pooled (250k/pool → 1.5M) |  |  |  |  |  |  |  |  | Vol for 1.5M |

- Pool all unsort tubes into one pool tube (even numbers from each pool) to total 1.5M cells into a tube labeled “unsort-lyo” for the TotalSeq-C lyo panel stain.

- Pool all asap tubes likewise to 1.5M cells into “asap-lyo” for the TotalSeq-A lyo panel stain.

- Spin down super-pools for stain (400g, 5 min, 4 °C); remove supernatant, leave 25–30 µL and dilute to the exact stain volume.

TIPS / NOTES - Measure exact volume and dilute to equal the panel volume (25 µL × 3 lyo vials, 1/~500k cells = 75 µL cell suspension for 1.5M cells). ❗ Exact volume matters here. - If doing standard 5′ scRNAseq (no surface/intracellular protein), skip the lyo panel and go straight to final count + loading.

### Surface-protein (CITEseq & ASAPseq) lyo panel reconstitution

TotalSeq-C = 137-marker panel (399905, Lot #) for the unsort 5′ super-pool; TotalSeq-A = 154+9-iso-marker panel (399907, Lot #) for the ASAP super-pool. Use 3 lyo vials (1 per ~500k cells; 25 µL Ab : 25 µL cells) to stain 1.5M cells → 150 µL total.

Record: panel lots used

| Panel | # lyo vials | Lot # |
| --- | --- | --- |
| TotalSeq-A Universal Cocktail v2 |  |  |
| TotalSeq-C Universal Cocktail v2 |  |  |

- Bring the 3 lyo vials to RT ≥ 5 min; spin 10,000×g, 30 s, RT.

- Resuspend each vial in 27.5 µL staining buffer, cap, vortex 10 s; incubate RT 5 min.

TIPS / NOTES - ❗ Careful rehydration: lyophilized powder can escape on opening — unscrew only slightly (cap tilted in hand), pipette in buffer, close quickly.

- Vortex and spin 10,000×g, 30 s, RT. ❗ Cool the centrifuge to 4 °C.

- Transfer full volume to a LoBind tube; spin 14,000×g, 10 min, 4 °C.

Surface-protein panel staining

- Transfer 25 µL from each lyo vial (25×3 = 75 µL) to an equal volume of cell suspension → 150 µL total stain.

- Stain 30 min at 4 °C.

TIPS / NOTES - While staining, start prepping unsort 5′ GEM generation per the 10x 5′ v3 guide — thaw RT primer (−80 °C with beads), RT reagent mix, additive A, gel beads (gel beads need ~30 min).

- After stain, wash 3× with staining buffer: (1) add 3 mL directly, spin 400g/5 min/4 °C; (2) resuspend 3 mL, spin; (3) resuspend in chilled 1× PBS, spin.

  - Resuspend: ASAP super-pool in exactly 450 µL (measure residual, add PBS to 450 µL); unsort super-pool in ~600 µL PBS (volume depends on kit version, # lanes, filter, target conc).

- Hand off the ASAP super-pool to personnel for the remaining ASAP protocol.

- Proceed to final count and superload (10x Chromium Loading) for the unsort 5′ super-pool.

TIPS / NOTES - Expect ~1.2M cells after washes; target 1.1–1.2M after filtering. Count after filtering and dilute if needed.

PROTOCOL 4

«SEC_SORT_START»

# Sort staining — HSC, pDC, cDC, Treg

When: After pooling  ·  Timing: 10am–2pm  ·  Personnel: 1 dedicated worker

Materials: Chilled FACS sort buffer (PBS + 10% FBS), FACS collection buffer (PBS + 50% FBS), chilled 1× PBS, L/D stain (Zombie Red or NIR, 1:1000 in PBS), Fc block, TotalSeq-C HTOs, sort-panel Ab cocktail, single-color control beads, L/D beads, round-bottom FACS tubes (polystyrene), FACS tube filter caps.

⚠️ Clean level: STERILE — CLASS II BIOSAFETY ❗ Important tips - Completely remove DNase-containing media, but avoid excessive washes (viability + cell loss). - Keep lights off in the BSC for staining (fluorochromes are light-sensitive). - For all supernatant removal, pipette out the residual while the tube is tilted.

Wash & L/D stain

- Top up each sort FACS pool tube (already holding all remaining cells from the 50 mL pools) with 1× PBS to ~3 mL. Spin 400g, 5 min, 4 °C. Remove supernatant, flick to loosen, keep on ice.

TIPS / NOTES - ❗ Turn BSC lights off for the rest of staining. - While spinning, prep L/D: Zombie NIR (−20 °C) 1:1000 — 1.5 µL stock into 1500 µL 1× PBS (need 250 µL/pool). Zombie Red alternative: 1:1000, ~1.5 mL/pool.

- Resuspend each pellet with 250 µL L/D stain (NIR) directly; pipette to mix. Incubate 20 min on ice (lights off).

- Add 2 mL FACS stain buffer directly, spin 400g/5 min/4 °C. Second wash: resuspend + add FACS buffer, spin again. Remove supernatant, resuspend in residual buffer (want <100 µL for HTO stain).

HTO + sort-Ab stain

- Add 10–20 µL Fc block to each pool; incubate 5 min on ice. During incubation, prep the sort-Ab cocktail (see 5′ Sort panel).

- Add sort-Ab cocktail (total cocktail vol / # pools; ~62.5–69 µL/pool) + 5 µL corresponding TotalSeq-C HTO to each pool (~200 µL total). Mix well.

| TIPS / NOTES - Spin HTOs briefly first. Staining volume (cells + Fc + HTO) should be <100 µL for cells; the cocktail brings total to ~200 µL. |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sort pool | Sort1 | Sort2 | Sort3 | Sort4 | Sort5 | Sort6 | Sort7 | Sort8 |
| TotalSeq-C HTO# |  |  |  |  |  |  |  |  |
| Tube ID |  |  |  |  |  |  |  |  |

- Incubate 20 min at 4 °C / on ice (lights off, protected from light).

- Wash 3×: (1) add 2 mL FACS buffer directly, spin; (2) resuspend 2 mL, spin; (3) resuspend 2 mL, spin (400g/5 min/4 °C each).

- Resuspend each pellet in ~1–2 mL FACS buffer (want ~10M cells/mL). Note exact volume for counting/pooling.

- Count each tube. If counts are similar, combine directly; if very different, pool based on the lowest count. Record counts.

Record: sort pool cell counts

|  | Sort1 | Sort2 | Sort3 | Sort4 | Sort5 | Sort6 | Sort7 | Sort8 | SUPERPOOL |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cell conc (cells/mL) |  |  |  |  |  |  |  |  | 10e6/mL |
| Live % |  |  |  |  |  |  |  |  |  |
| Vol (mL) |  |  |  |  |  |  |  |  |  |
| Total cells |  |  |  |  |  |  |  |  |  |

- Pool all hashtagged sort pools into a sort super-pool (5 mL FACS tube) at ~10M cells/mL; pool based on min count for max cells. Split across multiple FACS tubes if volume exceeds one tube.

- Prepare an unstained control: pool ~5M extra cells (from spare 15 mL tubes or ALLCELLS) at ~10M cells/mL, spin, resuspend in 500 µL FACS buffer. Wash ≥1× to remove residual media.

- Filter samples through FACS filter caps into new tubes. Take on ice to the sorter: sort super-pool (1–several tubes), unstained control, and 4 labeled collection tubes (HSC, pDC, cDC, Treg) each with 250 µL FACS collection buffer.

Record: sort yield

| Population | Sort yield | Viability | Viable count (cells/mL) | Total volume | Cell # | Vol for loading |
| --- | --- | --- | --- | --- | --- | --- |
| HSC |  |  |  |  |  |  |
| pDC |  |  |  |  |  |  |
| cDC |  |  |  |  |  |  |
| Treg |  |  |  |  |  |  |

Post-sorting

- Cells are sorted into 250 µL–1 mL FACS collection buffer. After sort, spin 400g/5 min/4 °C; pour supernatant into a 50 mL conical (save). Wash ≥1× with 1× PBS.

- Resuspend in 1× PBS (separate tubes per cell-type lane): ~500 µL Treg and cDC; ~250 µL each HSC and pDC (combine into one tube). Resuspension volume depends on yield.

- Lane plan (aim 3–4 lanes): pDC + HSC → 1 lane; cDC → 1 lane; Treg → 1–2 lanes. Combine low-yield populations onto shared lanes.

- 5′ GEM-X v3: load 85,000 cells/lane → dilute to 85,000 / 37.5 µL = 2,267 cells/µL = 2.3×10⁶ cells/mL in 1× PBS; load 37.5 µL/lane. Filter with FlowMi (skip if very few cells).

- When ready, proceed to 10x Chromium Loading.

### 5′ Sort panel (12-color — HSC / pDC / cDC / Treg)

Panel source: Can Liu. See the accompanying experiment spreadsheet for gating strategy. Adjust if sorting other rare populations. Unit vol (µL/test/M) is for ~10M cells; ×9 covers up to ~60 samples. Split the total Ab volume evenly across sort pools. L/D is stained separately — do not add to the cocktail.

| Laser | nm | Marker | Category | Fluorochrome | Vol (µL/test/M) | Vol ×9 (µL) |
| --- | --- | --- | --- | --- | --- | --- |
| Violet | 405 | CD127 | Lineage | BV421 | 5 | 45 |
| Violet | 405 | CD123 | Lineage | BV510 | 5 | 45 |
| Violet | 405 | CD4 | Lineage | BV605 | 4 | 36 |
| Violet | 405 | CD19 | Lineage | BV785 | 5 | 45 |
| Violet | 405 | CD56 | Lineage | BV785 | 5 | 45 |
| Blue | 488 | CD3 | Lineage | AF488 | 4 | 36 |
| Yellow-Green | 561 | CD11c | Lineage | PE | 3.5 | 31.5 |
| Yellow-Green | 561 | L/D | Live/dead | PE-Texas Red | 1:1000 | — |
| Yellow-Green | 561 | CD25 | Activation/Lineage | PE-Cy5 | 5 | 45 |
| Red | 638 | CD34 | Lineage | AF647 | 5 | 45 |
| Red | 638 | CD45 | Lineage | AF700 | 5 | 45 |
| Red | 638 | CD14 | Lineage | APC-Cy7 | 5 | 45 |
| — | — | Unstained control | — | — | — | — |
| Total Ab (µL) |  |  |  |  |  | 463.5 |
| ❗ Flow-sort notes - Sorter settings (Sony MA900): pressure = 4, purity mode = purity. Put the lowest-expected / most-important population on the left. - Empirical (MA900): ~312k sorted events ≈ 1 mL collected. Watch recorded events + tube volume (especially cDC, Treg) to swap collection tubes. - Pre-cool collection-tube holder, sample-tube holder, and collection tubes. Filter to 10M cells/mL, split across FACS tubes as needed; vortex each right before running. |  |  |  |  |  |  |

PROTOCOL 5

«SEC_SORT_END»

«SEC_ASAP_START»

# ASAP-seq — nuclei prep, tagmentation & tag libraries

When: After ASAP staining, parallel to Protocol 3  ·  Timing: 2pm–5pm  ·  Personnel: 1 dedicated worker

Materials: 16% Formaldehyde (methanol-free), chilled 1× PBS, 2M glycine, 1 M Tris-HCl, 5 M NaCl, 1 M MgCl₂, 10% NP40, 5% Digitonin, 10% Tween-20, 10% BSA, NF-water (1 RT + 1 on ice), 20× Nuclei Buffer (10x), bridge oligo (BOA), ice bucket. (Intracellular option: FcX monoblock + BioLegend intracellular wash buffer PN 900002577.)

⚠️ DNA/RNA-FREE ZONE (BENCH) *** ZONE TRANSITION ***

❗ Important tips / protocol notes - Start after ASAP staining. Can be performed on the bench (outside the BSC). - Mild lysis/permeabilization is needed for Tn5 to integrate adapters into accessible chromatin; fixation + permeabilization before transposition retains surface markers. Permeabilization of fixed cells minimally affects protein signal, though the extra 1 h 37 °C incubation can reduce intensity slightly.

Prepare reagents — leave all on ice

- ❗ Incubate digitonin at 65 °C on a shaker ≥ 10 min before use. Set 20× nuclei buffer at RT to thaw.

OMNI lysis buffer — per 2 mL (use 100 µL/rxn). Low-loss variant retains mtDNA (omit digitonin + Tween).

| Component (stock) | OMNI final conc | Volume |
| --- | --- | --- |
| 1 M Tris-HCl pH 7.5 | 10 mM | 20 µL |
| 5 M NaCl | 10 mM | 4 µL |
| 1 M MgCl₂ | 3 mM | 6 µL |
| 10% NP-40 (IGEPAL) | 0.1% | 20 µL |
| 5% digitonin (65 °C 10 min) | 0.01% | 4 µL |
| 10% Tween-20 | 0.1% | 20 µL |
| 10% BSA (in PBS) | 1% | 200 µL |
| Nuclease-free H₂O | — | 1726 µL |
| Total |  | 2 mL |

ASAP wash buffer — per 2 mL (use 1 mL/rxn)

| Component | Final conc | Volume |
| --- | --- | --- |
| 1 M Tris-HCl pH 7.5 | 10 mM | 20 µL |
| 5 M NaCl | 10 mM | 4 µL |
| 1 M MgCl₂ | 3 mM | 6 µL |
| 10% BSA (in PBS) | 1% | 200 µL |
| Nuclease-free H₂O | — | 1770 µL |
| Total |  | 2 mL |

1× Nuclei buffer — diluted from 20× stock (start thawing 20×)

| Component (stock) | Final | Volume |
| --- | --- | --- |
| 20× Nuclei Buffer (PN-2000207) | 1× | 50 µL |
| Nuclease-free H₂O | — | 950 µL |
| Total |  | 1000 µL |

Fixation & permeabilization

- ASAP sample should be “asap super-pool” in exactly 450 µL PBS (~1.5M cells).

- Add 30 µL 16% formaldehyde (1% f.c.); incubate 10 min at RT, swirl/invert occasionally.

⚠️ Clean level: ❗ FUME HOOD — handle 16% formaldehyde in the fume hood only. Once at 1% it is OK on the bench.

- Quench with 32 µL 2M glycine (into 480 µL → 0.125 M f.c.). Wash: fill to 1 mL with ice-cold 1× PBS, invert 5×.

- Spin 400g, 5 min, 4 °C; discard supernatant. Repeat wash with 1 mL ice-cold PBS; spin, discard.

TIPS / NOTES - OK to spin again if the pellet does not look intact.

Lysis

- Resuspend pellet in 100 µL chilled OMNI lysis buffer, pipette to mix. Incubate on ice exactly 3 min.

- Immediately add 1 mL chilled ASAP wash buffer, mix. Spin 500g, 5 min, 4 °C.

Intracellular staining (optional — skip if not desired)

- Resuspend pellet in 50 µL block buffer (40 µL intracellular wash buffer + 5 µL FcX + 5 µL monoblock); incubate 15 min on ice.

  - Add 50 µL intracellular wash buffer containing conjugated intracellular markers; incubate 30 min on ice. Wash 3× (add wash buffer, spin 500g/5 min/4 °C).

Resuspend & count

- Remove supernatant; resuspend in 100 µL 1× nuclei buffer (10x). Pipette mix, centrifuge briefly.

- (Optional, recommended) Filter through a strainer (40 µm Flowmi or 30 µm MACS SmartStrainer).

- Count; adjust density per 10x loading instructions and proceed to 10x Chromium Loading (ATAC v2 with ASAP modifications). Record on the 10X_ASAP_ATACv2 worksheet.

### Transposition & barcoding (GEM + bridge oligo)

❗ Protocol notes - No UMI on the ATAC bead. No UMI in TotalSeq-A (present in TotalSeq-B/-C). UBI in BOA (bridge oligo A), not BOB. - ❗ Proceed per 10x ATAC v2 with the modifications below.

- Cell barcoding master mix (step 2.1): spike in 0.5 µL/rxn of 1 µM bridge oligo (BOA for TotalSeq-A ADT + HTO; final vol 60.5 µL for v1.1/v2).

- GEM incubation (step 2.5): add a 5 min 40 °C step at the start (bridge-oligo annealing; increases TSB/TSC capture efficiency).

GEM incubation program (lid 105 °C, 100 µL, ~30 min)

| Step | Temperature | Time |
| --- | --- | --- |
| 1 | 40 °C | 5 min (bridge oligo annealing) |
| 2 | 72 °C | 5 min |
| 3 | 98 °C | 30 sec |
| 4 | 98 °C | 10 sec |
| 5 | 59 °C | 30 sec |
| 6 | 72 °C | 1 min |
| 7 | Go to step 4, repeat 11× | (total 12 cycles) |
| 8 | 15 °C | hold |
| 🛑 STOP for ASAP-seq day 1: store at 15 °C up to 18 h, or −20 °C up to 1 week. |  |  |

### Library construction modifications

- Silane elution (step 3.1o): add 43.5 µL Elution Solution I, recover ~43 µL. Keep 3 µL aside for tag-library PCR input (combining boosts complexity for large panels; either input alone works for simple hashing).

- With the remaining 40 µL, proceed to SPRI cleanup as per protocol.

- SPRI cleanup (step 3.2d): save the supernatant (80 µL only) ❗. Proceed normally with the bead-bound fraction.

- Supernatant fraction (80 µL): add 29 µL SPRI, bind 5 min RT; collect on magnet; wash 2× 80% EtOH; elute in 42 µL Buffer EB. Combine with the 3 µL set aside → use 10 µL each for the HTO and ADT reactions.

Tag library PCR mix — one HTO, one ADT (2 separate reactions)

| Component | Volume |
| --- | --- |
| 2× KAPA Mix | 50 µL |
| 3′ ASAP-P5 10 µM (or ATACseq-SI primer) [not the long 3′-CITE-P5] | 2.5 µL |
| RPxx (TSA – ADT) or Illumina TruSeq DNA D7xx (TSB/TSA hashing – HTO), 10 µM | 2.5 µL |
| Input fragments | 3–45 µL (rec. 10 µL) |
| Nuclease-free H₂O | to 100 µL |
| Total | 100 µL |
| Make a separate reaction per lane with unique indexes — e.g. 16 ASAP lanes → 16 HTO mixes (unique RPxx) + 16 ADT mixes (unique D7xx). Note which primers per lane. |  |

Tag library PCR program (lid 105 °C, 100 µL, ~30 min)

| Step | Temperature | Time |
| --- | --- | --- |
| 1 | 95 °C | 3 min |
| 2 | 95 °C | 20 sec |
| 3 | 60 °C | 30 sec |
| 4 | 72 °C | 20 sec |
| 5 | Go to step 3, repeat 13–15× | (14–16 cycles; rec. 14) |
| 6 | 72 °C | 5 min |
| 7 | 4 °C | hold |
| Cleanup with 1.6× AMPure XP (160 µL beads into 100 µL), elute 30 µL. Expected product ~190 bp. |  |  |

PROTOCOL 6

«SEC_ASAP_END»

«SEC_BULK_START»

# Bulk RNAseq — Trizol isolation

When: After pool/split  ·  Timing: 10am–12pm  ·  Personnel: 1 worker (Person 4)

Materials: Trizol (4 °C, light-sensitive), 1.5 mL LoBind tubes (1 per individual sample), P1000 + tips (in fume hood), benchtop centrifuge @ 4 °C, labeled freezer box(es), RNA-Away, dry ice.

⚠️ FUME HOOD · RNA-FREE CONDITIONS

❗ Important tips - Keep samples on ice. Shock cells — transfer to −80 °C as soon as possible after the brief Trizol incubation (a box on dry ice helps). - Operate RNA-free: RNA-Away on gloves before handling; double-glove for Trizol.

- Cool the benchtop centrifuge to 4 °C; keep cells on ice. Prepare pre-labeled RNA-free 1.5 mL LoBind tubes.

- In the BSC, keep cell samples on ice. Depending on concentration, use up to 500 µL of cell mixture (range 100k–1M cells; up to ~2M possible). Pipette to mix, dispense into labeled tubes (check sample #s).

- Spin 400g, 5 min, 4 °C (balanced; max 24 tubes). While spinning, set up the fume hood: Trizol (4 °C, light-sensitive), P1000 + tips, waste container, vortexer; have freezer box(es) ready (on dry ice for max shock).

- Take tubes to the fume hood. Gently remove supernatant (may leave a thin layer to avoid losing pellet).

- Add 600 µL Trizol per sample, resuspending thoroughly. Open caps beforehand to add in quick succession with the sample tip; vortex gently after; ensure the pellet is broken up.

- Incubate in Trizol 5 min at RT.

- Place samples directly in −80 °C (no CoolCells; no need to halt the reaction).

PROTOCOL 7

«SEC_BULK_END»

«SEC_STIM_START»

# In vitro stim → Flex/5′ (optional)

When: After pool/split  ·  Timing: 12pm–5pm  ·  Personnel: 1 worker (Person 4)

Materials: Wash buffer (PBS + 2% BSA), R10 media, stims (LPS −20 °C, IL-15 −20 °C, IFN-β −80 °C), TotalSeq-C HTOs (# pools × 4 conditions), centrifuge @ 4 °C, untreated 96-well U/V-bottom plates.

⚠️ Clean level: STERILE — CLASS II BIOSAFETY ❗ Important tips - Adjust stim conditions and dilution calcs as needed for this experiment. Aim for larger populations (~40 samples for stim, 2 lanes).

- From the remaining cells in each original 15 mL tube, transfer enough for 800k cells (200k × 4 conditions: 3 stims + 1 unstim). Spin 400g/5 min/4 °C, pour off, resuspend in 400 µL R10 (100 µL × 4).

- Plate 100 µL (200k cells) of each sample into the corresponding wells (see external plate plan).

- Prepare stims (scale to sample count):

Stim working dilutions

| Stim | Stock conc | Final conc | 1× vol | __× (# samples) |
| --- | --- | --- | --- | --- |
| LPS | 2.5 mg/mL | 0.1 µg/mL | 100 µL |  |
| IL-15 | 100 µg/mL | 10 ng/mL | 100 µL |  |
| IFN-β | 1000 U/µL | 10 U/µL | 100 µL |  |

- LPS: 1 µL of 2.5 mg/mL stock → 1.25 mL RPMI (“0.002 µg/µL LPS”). Then 400 µL → 3.6 mL RPMI → “final LPS” (0.0002 µg/µL). Keep on ice.

- IL-15: 5 µL of 100 µg/mL → 15 µL RPMI (25 µg/mL). Then 1.6 µL → RPMI to 2000 µL → “final IL-15” (20 ng/mL).

- IFN-β: 45 µL of 1000 U/µL → 2205 µL RPMI (total 2250 µL, 20 U/µL) → “final IFN-β”.

- Add 100 µL of each stim to the appropriate wells (per plate plan). Add 100 µL warm R10 (no DNase) to each unstim control well.

- Incubate at 37 °C for 1 hour.

- Spin plate 400g/5 min/4 °C; remove supernatant (multichannel). Wash 3× (200 µL wash buffer, spin). After last wash leave a little liquid.

- Combine each plate into a FACS tube (≤50 µL per pool; wash buffer to help transfer). Add 1 µL unique TotalSeq-C HTO per pool; incubate 20 min on ice. Start thawing 10x kits.

- Wash 3× (2 mL wash buffer, resuspend, spin 400g/5 min/4 °C). Pour off; pool all into a stim super-pool (1 Eppendorf, ~700–800 µL).

- Proceed to final count and loading (10x Chromium Loading).

PROTOCOL 8

«SEC_STIM_END»

# 10x Chromium GEM chip loading

When: After staining/sorting  ·  Timing: unsort ~2pm · ASAP ~4pm · sort ~5pm  ·  Personnel: 1–2 workers  ·  Source: 10x user guides (CG000733 etc.)

Materials: 1× PBS, FlowMi filter (0.4 µm) or MACS SmartStrainer (0.3 µm), 10x kit reagents (+ 50% glycerol), Cellaca MX + AOPI dye + plates, 10x Chromium X.

⚠️ STERILE — CLASS II BIOSAFETY → DNA/RNA-FREE ZONE (BENCH) *** ZONE TRANSITION ***

❗ Important tips - If loading fewer than the chip max, load center lanes (edge lanes can be less reliable). For parallel-lane chips (e.g. 16-rxn 5′ HT v2), if loading an odd # of lanes add a dummy lane (master mix + NF-water) opposite; otherwise fill empty lanes with 50% glycerol. - ❗ 30 min before each chip, thaw the needed 10x reagents to RT. Keep the enzyme in the freezer until right before use (don’t leave out 30 min).

- Resuspend cells in __ µL 1× PBS (volume depends on lane loading + conc — see plan). Filter with FlowMi (0.4 µm) or MACS SmartStrainer (0.3 µm); recover droplets from the strainer underside.

- Final count before loading; dilute with 1× PBS to the proper concentration. ❗ QC: viability must be >70% at this stage.

Record: final counts before loading

| Modality | Vol | Live % | Cell conc (cells/mL) | Total cells | PBS to add → load conc+vol |
| --- | --- | --- | --- | --- | --- |
| Unsort 5′ CITEseq superpool |  |  |  |  |  |
| Sort 5′ HSC + pDC superpool |  |  |  |  |  |
| Sort 5′ cDC superpool |  |  |  |  |  |
| Sort 5′ Treg superpool |  |  |  |  |  |
| ASAP superpool |  |  |  |  |  |

### Chip loading plan

| Modality | Protocol | Chip | # lanes | Cells/nuclei per lane | Conc → vol/lane |
| --- | --- | --- | --- | --- | --- |
| Unsort 5′ CITEseq | 5′ v3 | GEM-X 5′ | 8¹ | 85,000 cells | 2.3×10⁶/mL → 37.5 µL (300 µL / 8 lanes) |
| Unsort 5′ (old) | 5′ HT v2 | Chip N | 8² | 85,000 cells | 1.1×10⁶/mL → 77.4 µL (619 µL / 8) |
| Sort 5′ (HTO) | 5′ v3 / HT v2 | GEM-X 5′ | 4³ | target 85,000 cells | varies → 37.5–77.4 µL/lane |
| ASAP superpool | ATAC v2 | Chip H | 16⁴ | 15,300 nuclei | 5,000/µL → 3.06 µL (49 µL / 16) |

¹ lanes = (# samples × target recovery) / (~40k singlet recovery from 85k load). ² HT v2: 30–40k post-QC recovery from 85k. ³ Lane 1: HSC+pDC · Lane 2: pDC · Lane 3–4: Treg. ⁴ lanes = (# samples × target nuclei recovery) / (9k post-QC from 15.4k load); target 10,000 nuclei × 1.53 recovery factor / 5,000 nuclei/µL = 3.06 µL/lane.

- Chip assembly & GEM loading: use the 10x Chip Layout spreadsheet to note loaded lanes; follow the 10x protocol. After GEM generation, follow the RT / incubation step.

- 🛑 STOP for day 1: store 5′ GEM products @ 4 °C overnight (or −20 °C up to 1 week); ASAP GEM products @ 15 °C up to 18 h (or −20 °C up to 1 week). Pause after GEM incubation (ATAC v2 step 2.5; 5′ step 1.5). Getting to cDNA as soon as possible is preferred (4 °C → cDNA amp next day beats freezing).

- After GEM RT, proceed to library construction in the 10x protocol (GEX / V(D)J / ADT; ATAC path for ASAP). Note: cDNA QC → library construction → library QC → submit to YCGA.

SEQUENCE

# Sequencing submission (YCGA)

When: After library QC  ·  Personnel: 1 worker  ·  Source: YCGA submission

Submit via iLAB; confirm the grant to charge with the lab manager. Include any details required by YCGA / other vendors.

Sequencing depth (fill planned values from the planner)

| Library | Min read pairs / cell or nucleus | Planned read pairs | Planned pooling ratio |
| --- | --- | --- | --- |
| VDJ | 5,000 | ? | 1 |
| 5′ GEX | 20,000 | ? | 4 |
| 5′ CSP (ADT) | 5,000 | ? | 1 |
| ATAC | 25,000 | ? | ? |
| ATAC-ADT | ? | ? | ? |
| ATAC-HTO | ? | ? | ? |
| Total reads: X million. 5′ cDNA:CSP:TCR:BCR = 65:33:1:1. |  |  |  |

### Read structures

5′ v3 (all unsort + sort lanes pooled)

| Read | Length (cycles) | 5′ v3 | Protein tag (CSP) |
| --- | --- | --- | --- |
| Read 1 | 28 *changed from HT v2 | 10x barcode + UMI | Cell barcode |
| I7 | 10 | Sample index 1 | Sample index 1 |
| I5 | 10 | Sample index 2 | Sample index 2 |
| Read 2 (2N for CSP) | 90 | Genomic fragment | Feature barcode (check BioLegend) |

ASAP (TotalSeq-A hashtag detection spiked into the ATAC run)

| Read | Length | ATAC | Protein tag |
| --- | --- | --- | --- |
| Read 1 | 50 | Genomic fragment | 1–10 bp = UBI |
| I7 | 8 | Sample index | Sample index |
| I5 | 16 | 10x barcode | Cell barcode |
| Read 2N | 50 | Genomic fragment | 1–15 bp = hashtag |

### Notes on issues arising on the day of experiment

- Load the Thawsome 15 mL conicals in the middle of the swing buckets.

- To batch each individual by thawer, keep the count sheet in that order and port over concentration for pools. Recommend labeling samples with two codes: A1–X (thaw) and B1–X (pooling).

- Some HTOs did not have adequate volume — likely need to order more.

- Keep an aliquot of Fc block with HTO oligos for each staining step (each sort, CITE/ASAP, etc.).

- During CITE/ASAP lyo-panel staining: a quick script to calculate how much of each pool to combine for 2M at representative concentrations would be faster than super-pooling at a larger total then taking 2M.

- We stained 2M cells for both CITE and ASAPseq. Enough nuclei from ASAP for 10x loading. CITEseq cells were short after washing + Flowmi: 1.03×10⁶ (91% viability) in 500 µL ≈ ~500k, vs. 935k needed for 11 lanes at 85k/lane — recovered concentration from residual pooled CITEseq after washes.

REFERENCE

# General techniques

### Supernatant removal after centrifugation

- Hold the tube (cap off) in one hand; a P1000 with tip in the other.

- Dump supernatant smoothly in one motion, held at ~45° over the waste container.

- While inverted, draw up the droplet at the tube mouth with the P1000; discard.

- Re-cap and rack/flick gently to resuspend the pellet in the minimal remaining volume.

Supernatant removal: spin → pour off in one smooth motion → pipette the residual droplet at the tube mouth → resuspend the pellet in the minimal remaining volume.

### Cell counting — Nexcelom Cellaca MX

- Turn on the Cellaca MX; open Matrix software (runs a startup sequence). Get AOPI dye from 4 °C (keep cold + dark; return after use — shared reagent).

- Use a counting plate (24 slots/plate). Identify unused wells (look for dried wells). Add 10–50 µL AOPI dye to a mixing well, then an equal volume of cell suspension (1:1 = DF 2, standard).

- Mix thoroughly right before adding cells (accurate counting is critical). Mix dye + cells in the mixing well; load 10–50 µL into the loading well (angle tip at the base, at the notch).

- Software: Acquire → Setup. Enter plate name (initials, date, experiment). Select assay = AOPI PBMCs; confirm description. Select loaded wells in the map. Confirm dilution factor.

- Load plate (align notched corner to top-left / A1). Preview → auto-focus + visually confirm focus → Count. Record live conc, % live (viability); use volume to compute total live cells.

- Remove the plate after counting, return the stage (Load), close the door, cover the plate with foil. Turn off after the last count of the day.

Cellaca MX counting plate — 24 slots (top section A + lower section B), each with a mixing well (add dye + cells) and a loading well.

Loading well: locate the notch at the top-middle of the well and angle the pipette tip at the base to dispense.

REFERENCE

# Safety practices

### Sterile — Class II biosafety

Purpose: protect personnel, prevent release of biological material, maintain aseptic conditions, minimize cross-contamination.

- Work in a Class II BSC; confirm airflow (nothing blocking grills) and no spills/debris. Keep unnecessary materials out.

- Disinfect before use: 70% EtOH, air-dry; UV ~15 min. Always wear lab coat + gloves; avoid touching non-BSC surfaces; change gloves as needed.

- Spray/wipe everything entering the BSC with 70% EtOH. Minimize moving things in/out. Only use STERILE-marked reagents; keep lids on when not in use.

- Always use clean sterile tips; never let tips touch anything. Bleach biological/liquid waste; keep waste containers empty and clean.

- Disinfect after use: remove waste, 70% EtOH, air-dry, UV ~15 min (UV must be turned off manually).

### DNA/RNA-free zone (pre-PCR)

- Purpose: reduce DNA/RNA degradation and cross-contamination from RNases and post-PCR products. Two benches (pre-PCR + post-PCR) for 10x loading and library prep.

- Pre-PCR: use for GEM generation, post-GEM-RT cleanup, and RNase-free reagent prep. Label all supplies “Pre-PCR”; do not share pipettes/supplies with other spaces.

- If transferring items in, only use open-bench items (not those inside the PCR hood); spray/wipe with DNA Zap → RNase Away → EtOH before returning.

- Before work, wipe all surfaces (pipettes, racks, tip boxes) with RNase Away then EtOH (DNA Zap first if pipettes may have been used elsewhere).

- Open stock reagents only in a laminar-flow hood after UV + DNA Zap/RNase Away/EtOH; take aliquots to avoid frequent opening. Always wear gloves + lab coat; spray gloves before starting.

- Avoid touching non-clean objects (phone, hair, skin, protocols). After work: fresh 10% bleach → RNase Away → EtOH; return items to original locations.

### Trizol & formaldehyde handling

- Trizol: handle in the chemical fume hood only; double-glove; light-sensitive (keep at 4 °C). Dispose in the labeled hazardous-waste container.

- Formaldehyde (16%): handle in the fume hood only. Once diluted to 1% the sample is OK to return to the bench.

REFERENCE

# Cleaning checklist — after batch day

☐ Clearly label all stored samples/products (initials, date, contents) and place in the correct fridge/freezer (designated areas only).

☐ Put away all leftover reagents (check for 4 °C / −20 °C items!).

☐ BSC hoods:

☐ Remove temporary materials, dump ice buckets, organize (micropipettes on rack, tip boxes to back). Wipe up liquid.

☐ Bleach any liquid waste (sit a few hours/overnight, then dump in sink). Spray surfaces + items with 70% EtOH, air-dry.

☐ Close hood (seal + airflow off), UV 15 min (turn off manually).

☐ Benches:

☐ Remove temporary materials, dump ice buckets, organize (put away micropipettes, tip boxes, racks, protocols).

☐ Spray in order with dry time between: DNA-Off (or fresh 10% bleach) → RNase Away → 70% EtOH (air-dry).

☐ Empty biological waste (big boxes + hood/bench waste). Dump ice buckets and leave to dry.

☐ Ensure the cell counter is off and stage closed. Leave centrifuge lids open. Turn off thermocyclers and the 10x instrument.